## Example plate set-up
Crystal plate set up
|  |  | pH 4.2 | pH 4.4 | pH 4.6 | pH 4.8 | pH 5.0 | pH 5.2
|  |  | Column 1 | Column 2 | Column 3 | Column 4 | Column 5 | Column 6
| [0.3 M] | Row A | pH buffer 4.2 0.3 M NaNO3 | pH buffer 4.4 0.3 M NaNO3 | pH buffer 4.6 0.3 M NaNO3 | pH buffer 4.8 0.3 M NaNO3 | pH buffer 5.0 0.3 M NaNO3 | pH buffer 5.2 0.3 M NaNO3
| [0.4 M] | Row B | pH buffer 4.2 0.4 M NaNO3 | pH buffer 4.4 0.4 M NaNO3 | pH buffer 4.6 0.4 M NaNO3 | pH buffer 4.8 0.4 M NaNO3 | pH buffer 5.0 0.4 M NaNO3 | pH buffer 5.2 0.4 M NaNO3
| [0.5 M] | Row C | pH buffer 4.2 0.5 M NaNO3 | pH buffer 4.4 0.5 M NaNO3 | pH buffer 4.6 0.5 M NaNO3 | pH buffer 4.8 0.5 M NaNO3 | pH buffer 5.0 0.5 M NaNO3 | pH buffer 5.2 0.5 M NaNO3
|  | Row D | HR reagent | HR reagent | HR reagent | HR reagent | HR reagent | HR reagent
|  |  | Column 1 | Column 2 | Column 3 | Column 4 | Column 5 | Column 6
Row A
pH buffer stock (M) | 0.625 | pH buffer final concentration | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1
Salt stock (M) | 3 | Salt final concentration | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3
Total precipitant volume (μl) | 500
Row B
pH buffer stock (M) | 0.625 | pH buffer final concentration | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1
Salt stock (M) | 3 | Salt final concentration | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4
Total precipitant volume (μl) | 500
Row C
pH buffer stock (M) | 0.625 | pH buffer final concentration | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1
Salt stock (M) | 3 | Salt final concentration | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5
Total precipitant volume (μl) | 500
|  |  | Column 1 | Column 2 | Column 3 | Column 4 | Column 5 | Column 6
Row A
|  | Volume of pH buffer stock needed (μl) | 80 | 80 | 80 | 80 | 80 | 80
|  | Volume of salt stock needed (μl) | 50 | 50 | 50 | 50 | 50 | 50
|  | Volume of water needed (μl) | 370 | 370 | 370 | 370 | 370 | 370
Row B
|  | Volume of pH buffer stock needed (μl) | 80 | 80 | 80 | 80 | 80 | 80
|  | Volume of salt stock needed (μl) | 66.6667 | 66.6667 | 66.6667 | 66.6667 | 66.6667 | 66.6667
|  | Volume of water needed (μl) | 353.3333 | 353.3333 | 353.3333 | 353.3333 | 353.3333 | 353.3333
Row C
|  | Volume of pH buffer stock needed (μl) | 80 | 80 | 80 | 80 | 80 | 80
|  | Volume of salt stock needed (μl) | 83.3333 | 83.3333 | 83.3333 | 83.3333 | 83.3333 | 83.3333
|  | Volume of water needed (μl) | 336.6667 | 336.6667 | 336.6667 | 336.6667 | 336.6667 | 336.6667
Row D
|  | Volume of HR precipitant needed (μl) | 300 | 300 | 300 | 300 | 300 | 300

## Template plate set-up
Crystal plate set up
|  |  | pH 4.2 | pH 4.4 | pH 4.6 | pH 4.8 | pH 5.0 | pH 5.2
|  |  | Column 1 | Column 2 | Column 3 | Column 4 | Column 5 | Column 6
| [0.3 M] | Row A
| [0.4 M] | Row B
| [0.5 M] | Row C
|  | Row D | HR reagent | HR reagent | HR reagent | HR reagent | HR reagent | HR reagent
|  |  | Column 1 | Column 2 | Column 3 | Column 4 | Column 5 | Column 6
Row A
pH buffer stock (M) | 0.625 | pH buffer final concentration | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1
Salt stock (M) | 3 | Salt final concentration | 0.3 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8
Total precipitant volume (μl) | 500
Row B
pH buffer stock (M) | 0.625 | pH buffer final concentration | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1
Salt stock (M) | 3 | Salt final concentration | 0.42 | 1 | 1 | 1 | 1 | 1
Total precipitant volume (μl) | 500
Row C
pH buffer stock (M) | 0.625 | pH buffer final concentration | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1
Salt stock (M) | 3 | Salt final concentration | 0.36 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2
Total precipitant volume (μl) | 500
|  |  | Column 1 | Column 2 | Column 3 | Column 4 | Column 5 | Column 6
Row A
|  | Volume of pH buffer stock needed (μl) | 80 | 80 | 80 | 80 | 80 | 80
|  | Volume of salt stock needed (μl) | 50 | 133.3333 | 133.3333 | 133.3333 | 133.3333 | 133.3333
|  | Volume of water needed (μl) | 370 | 286.6667 | 286.6667 | 286.6667 | 286.6667 | 286.6667
Row B
|  | Volume of pH buffer stock needed (μl) | 80 | 80 | 80 | 80 | 80 | 80
|  | Volume of salt stock needed (μl) | 70 | 166.6667 | 166.6667 | 166.6667 | 166.6667 | 166.6667
|  | Volume of water needed (μl) | 350 | 253.3333 | 253.3333 | 253.3333 | 253.3333 | 253.3333
Row C
|  | Volume of pH buffer stock needed (μl) | 80 | 80 | 80 | 80 | 80 | 80
|  | Volume of salt stock needed (μl) | 60 | 200 | 200 | 200 | 200 | 200
|  | Volume of water needed (μl) | 360 | 220 | 220 | 220 | 220 | 220
Row D
|  | Volume of HR precipitant needed (μl) | 300 | 300 | 300 | 300 | 300 | 300